## Study
Study Data
Study Name | Creator | Description | Literature Reference | Persistence | Consecutive | Different Ammo | Created Date
Hamby-44-CSAFE | Hofmann, Heike | 35 Bullets fire from ten consecutively manufactured Ruger P-85 barrels. | Hamby J, Brundage D, Thorpe J, "The Identification of Bullets Fired from 10 Consecutively Rifled 9mm Ruger Pistol Barrels: A Research Project Involving 507 Participants from 20 Countries," AFTE Journal, Vol 41, No 2, Spring 2009 | FALSE | TRUE | FALSE | 2018-06-28 13:18
End of worksheet

## Firearm
Firearm Data
Firearm Name | Brand | Model | Caliber | Firing Pin Class | Breech Face Class | # of Lands | Twist Direction | Consecutively Manufactured | Comments
Barrel 7 | Ruger | P-85 | 9 mm Luger |  |  | 6 | Right | FALSE | Land impressions are not indexed from bullet to bullet.
End of worksheet

## Bullet
Bullet Specimen Properties
Specimen ID | Firearm Name | Brand | Nominal Caliber | Cartridge Designation | Weight (Grain) | Surface Material | Firing Sequence | Lot Number | Comments
Bullet 1 | Barrel 7 | Winchester | 9 mm | NATO | 101-150 | Copper
Bullet 2 | Barrel 7 | Winchester | 9 mm | NATO | 101-150 | Copper
End of worksheet

## Bullet Measurement
Bullet Specimen Measurements
Specimen Name | Creator | NIST Measurement | File Name | Measurement Type | Instrument Brand | Instrument Model | Measurand | Region Of Interest | LEA or GEA # | Lateral Resolution (µm) | Vertical Resolution (µm) | Objective (Magnification) | Numerical Aperture | Comments
Bullet 1 | Hofmann, Heike | FALSE | Barrel_7-Bullet_1-Land_5.x3p | Other | Sensofar | Sneox1 | 3D Topography | Land Engraved Area | 5 | 1.5625 | 1.5625 | 20 |  | Scan Comment: Instrument settings: auto light left image +20 perc.;threshold 2;resolution 4 , sub-sampled using software Instrument Serial Number: 350262016 Instrument Version: N/A Instrument Calibration Date: 2017-01-17T09:21:52 Probing System: NonContacting Scanned by: CSAFE, Marco Yepez Creation Date: 2017-06-06T09:21:52 binary_md5checksum: dd468e7c08c188d6b763eec30dcd9e6e
Bullet 1 | Hofmann, Heike | FALSE | Barrel_7-Bullet_1-Land_1.x3p | Other | Sensofar | Sneox1 | 3D Topography | Land Engraved Area | 1 | 1.5625 | 1.5625 | 20 |  | Scan Comment: Instrument settings: auto light left image +20 perc.;threshold 2;resolution 4 , sub-sampled using software Instrument Serial Number: 350262016 Instrument Version: N/A Instrument Calibration Date: 2017-01-17T09:21:52 Probing System: NonContacting Scanned by: CSAFE, Marco Yepez Creation Date: 2017-06-06T09:21:52 binary_md5checksum: da792f82cbb195e1208e85ecb480c908
Bullet 1 | Hofmann, Heike | FALSE | Barrel_7-Bullet_1-Land_3.x3p | Other | Sensofar | Sneox1 | 3D Topography | Land Engraved Area | 3 | 1.5625 | 1.5625 | 20 |  | Scan Comment: Instrument settings: auto light left image +20 perc.;threshold 2;resolution 4 , sub-sampled using software Instrument Serial Number: 350262016 Instrument Version: N/A Instrument Calibration Date: 2017-01-17T09:21:52 Probing System: NonContacting Scanned by: CSAFE, Marco Yepez Creation Date: 2017-06-06T09:21:52 binary_md5checksum: 6686e0b77298253f4fa88ead4bfdcc22
Bullet 1 | Hofmann, Heike | FALSE | Barrel_7-Bullet_1-Land_6.x3p | Other | Sensofar | Sneox1 | 3D Topography | Land Engraved Area | 6 | 1.5625 | 1.5625 | 20 |  | Scan Comment: Instrument settings: auto light left image +20 perc.;threshold 2;resolution 4 , sub-sampled using software Instrument Serial Number: 350262016 Instrument Version: N/A Instrument Calibration Date: 2017-01-17T09:21:52 Probing System: NonContacting Scanned by: CSAFE, Marco Yepez Creation Date: 2017-06-06T09:21:52 binary_md5checksum: 65d8b2840c594b5cfefb1b5c13d799e6
Bullet 1 | Hofmann, Heike | FALSE | Barrel_7-Bullet_1-Land_4.x3p | Other | Sensofar | Sneox1 | 3D Topography | Land Engraved Area | 4 | 1.5625 | 1.5625 | 20 |  | Scan Comment: Instrument settings: auto light left image +20 perc.;threshold 2;resolution 4 , sub-sampled using software Instrument Serial Number: 350262016 Instrument Version: N/A Instrument Calibration Date: 2017-01-17T09:21:52 Probing System: NonContacting Scanned by: CSAFE, Marco Yepez Creation Date: 2017-06-06T09:21:52 binary_md5checksum: 2d6cadb43308f07c3f8776564751385d
Bullet 1 | Hofmann, Heike | FALSE | Barrel_7-Bullet_1-Land_2.x3p | Other | Sensofar | Sneox1 | 3D Topography | Land Engraved Area | 2 | 1.5625 | 1.5625 | 20 |  | Scan Comment: Instrument settings: auto light left image +20 perc.;threshold 2;resolution 4 , sub-sampled using software Instrument Serial Number: 350262016 Instrument Version: N/A Instrument Calibration Date: 2017-01-17T09:21:52 Probing System: NonContacting Scanned by: CSAFE, Marco Yepez Creation Date: 2017-06-06T09:21:52 binary_md5checksum: fd826f85e1f542a7e284eaeff8980dd7
Bullet 2 | Hofmann, Heike | FALSE | Barrel_7-Bullet_2-Land_4.x3p | Other | Sensofar | Sneox2 | 3D Topography | Land Engraved Area | 4 | 1.5625 | 1.5625 | 20 |  | Scan Comment: Instrument settings: auto light left image + 20 perc.;Threshold 2;Resolution 4 , sub-sampled using software Instrument Serial Number: 350402015 Instrument Version: N/A Instrument Calibration Date: 2017-08-07T09:21:52 Probing System: NonContacting Scanned by: CSAFE, Connor Hergenreter Creation Date: 2017-06-06T09:21:52 binary_md5checksum: 2b24010bab5987cc638ec21044f20ac6
Bullet 2 | Hofmann, Heike | FALSE | Barrel_7-Bullet_2-Land_3.x3p | Other | Sensofar | Sneox2 | 3D Topography | Land Engraved Area | 3 | 1.5625 | 1.5625 | 20 |  | Scan Comment: Instrument settings: auto light left image + 20 perc.;Threshold 2;Resolution 4 , sub-sampled using software Instrument Serial Number: 350402015 Instrument Version: N/A Instrument Calibration Date: 2017-08-07T09:21:52 Probing System: NonContacting Scanned by: CSAFE, Connor Hergenreter Creation Date: 2017-06-06T09:21:52 binary_md5checksum: 0ad1146963b94b635c219334bbca9faa
Bullet 2 | Hofmann, Heike | FALSE | Barrel_7-Bullet_2-Land_1.x3p | Other | Sensofar | Sneox2 | 3D Topography | Land Engraved Area | 1 | 1.5625 | 1.5625 | 20 |  | Scan Comment: Instrument settings: auto light left image + 20 perc.;Threshold 2;Resolution 4 , sub-sampled using software Instrument Serial Number: 350402015 Instrument Version: N/A Instrument Calibration Date: 2017-08-07T09:21:52 Probing System: NonContacting Scanned by: CSAFE, Connor Hergenreter Creation Date: 2017-06-06T09:21:52 binary_md5checksum: a302d2f1e84f6160d20d4c5dd8e81509
Bullet 2 | Hofmann, Heike | FALSE | Barrel_7-Bullet_2-Land_2.x3p | Other | Sensofar | Sneox2 | 3D Topography | Land Engraved Area | 2 | 1.5625 | 1.5625 | 20 |  | Scan Comment: Instrument settings: auto light left image + 20 perc.;Threshold 2;Resolution 4 , sub-sampled using software Instrument Serial Number: 350402015 Instrument Version: N/A Instrument Calibration Date: 2017-08-07T09:21:52 Probing System: NonContacting Scanned by: CSAFE, Connor Hergenreter Creation Date: 2017-06-06T09:21:52 binary_md5checksum: 54ae1a3feea595fc60e12b39e3524469
Bullet 2 | Hofmann, Heike | FALSE | Barrel_7-Bullet_2-Land_5.x3p | Other | Sensofar | Sneox2 | 3D Topography | Land Engraved Area | 5 | 1.5625 | 1.5625 | 20 |  | Scan Comment: Instrument settings: auto light left image + 20 perc.;Threshold 2;Resolution 4 , sub-sampled using software Instrument Serial Number: 350402015 Instrument Version: N/A Instrument Calibration Date: 2017-08-07T09:21:52 Probing System: NonContacting Scanned by: CSAFE, Connor Hergenreter Creation Date: 2017-06-06T09:21:52 binary_md5checksum: d2163fe17c98ec3a601fa615f0c607d7
Bullet 2 | Hofmann, Heike | FALSE | Barrel_7-Bullet_2-Land_6.x3p | Other | Sensofar | Sneox2 | 3D Topography | Land Engraved Area | 6 | 1.5625 | 1.5625 | 20 |  | Scan Comment: Instrument settings: auto light left image + 20 perc.;Threshold 2;Resolution 4 , sub-sampled using software Instrument Serial Number: 350402015 Instrument Version: N/A Instrument Calibration Date: 2017-08-07T09:21:52 Probing System: NonContacting Scanned by: CSAFE, Connor Hergenreter Creation Date: 2017-06-06T09:21:52 binary_md5checksum: f04c1c899463a1b18071036d6be4bb93
End of worksheet

## Cartridge Case
Cartridge Case Specimen Properties
Specimen ID | Firearm Name | Brand | Nominal Caliber | Cartridge Designation | Case Material | Primer Material | Firing Sequence | Lot Number | Comments
End of worksheet

## Cartridge Case Measurement
Cartridge Case Specimen Measurements
Specimen Name | Creator | NIST Measurement | File Name | Measurement Type | Instrument Brand | Instrument Model | Measurand | Breech Face | Firing Pin | Ejector Mark | Aperture Shear | Lateral Resolution (µm) | Vertical Resolution (µm) | Lighting Direction | Objective (Magnification) | Numerical Aperture | Comments
End of worksheet