## Study
Study Data
Study Name | Creator | Description | Literature Reference | Persistence | Consecutive | Different Ammo | Created Date
Hamby-44-CSAFE | Hofmann, Heike | 35 Bullets fire from ten consecutively manufactured Ruger P-85 barrels. | Hamby J, Brundage D, Thorpe J, "The Identification of Bullets Fired from 10 Consecutively Rifled 9mm Ruger Pistol Barrels: A Research Project Involving 507 Participants from 20 Countries," AFTE Journal, Vol 41, No 2, Spring 2009 | FALSE | TRUE | FALSE | 2018-06-28 13:18
End of worksheet

## Firearm
Firearm Data
Firearm Name | Brand | Model | Caliber | Firing Pin Class | Breech Face Class | # of Lands | Twist Direction | Consecutively Manufactured | Comments
Barrel 10 | Ruger | P-85 | 9 mm Luger |  |  | 6 | Right | FALSE | Land impressions are not indexed from bullet to bullet.
End of worksheet

## Bullet
Bullet Specimen Properties
Specimen ID | Firearm Name | Brand | Nominal Caliber | Cartridge Designation | Weight (Grain) | Surface Material | Firing Sequence | Lot Number | Comments
Bullet 1 | Barrel 10 | Winchester | 9 mm | NATO | 101-150 | Copper
Bullet 2 | Barrel 10 | Winchester | 9 mm | NATO | 101-150 | Copper
End of worksheet

## Bullet Measurement
Bullet Specimen Measurements
Specimen Name | Creator | NIST Measurement | File Name | Measurement Type | Instrument Brand | Instrument Model | Measurand | Region Of Interest | LEA or GEA # | Lateral Resolution (µm) | Vertical Resolution (µm) | Objective (Magnification) | Numerical Aperture | Comments
Bullet 1 | Hofmann, Heike | FALSE | Barrel_10-Bullet_1-Land_5.x3p | Other | Sensofar | Sneox1 | 3D Topography | Land Engraved Area | 5 | 1.5625 | 1.5625 | 20 |  | Scan Comment: Instrument settings: auto light left image +20 perc. x10; threshold 2;resolution 4 , sub-sampled using software Instrument Serial Number: 350262016 Instrument Version: N/A Instrument Calibration Date: 2017-01-17T09:21:52 Probing System: NonContacting Scanned by: CSAFE, Marco Yepez Creation Date: 2017-06-06T09:21:52 binary_md5checksum: 52d916ce4344eec09732894dc8b2d723
Bullet 1 | Hofmann, Heike | FALSE | Barrel_10-Bullet_1-Land_6.x3p | Other | Sensofar | Sneox1 | 3D Topography | Land Engraved Area | 6 | 1.5625 | 1.5625 | 20 |  | Scan Comment: Instrument settings: auto light left image +20 perc. x10; threshold 2;resolution 4 , sub-sampled using software Instrument Serial Number: 350262016 Instrument Version: N/A Instrument Calibration Date: 2017-01-17T09:21:52 Probing System: NonContacting Scanned by: CSAFE, Connor Hergenreter Creation Date: 2017-06-06T09:21:52 binary_md5checksum: dba0a0e7c5371caa2b999c18605eec3f
Bullet 1 | Hofmann, Heike | FALSE | Barrel_10-Bullet_1-Land_3.x3p | Other | Sensofar | Sneox1 | 3D Topography | Land Engraved Area | 3 | 1.5625 | 1.5625 | 20 |  | Scan Comment: Instrument settings: auto light left image +20 perc. x10; threshold 2;resolution 4 , sub-sampled using software Instrument Serial Number: 350262016 Instrument Version: N/A Instrument Calibration Date: 2017-01-17T09:21:52 Probing System: NonContacting Scanned by: CSAFE, Marco Yepez Creation Date: 2017-06-06T09:21:52 binary_md5checksum: 6df26ea0bcecd7c63c2f043292f2fd7c
Bullet 1 | Hofmann, Heike | FALSE | Barrel_10-Bullet_1-Land_1.x3p | Other | Sensofar | Sneox1 | 3D Topography | Land Engraved Area | 1 | 1.5625 | 1.5625 | 20 |  | Scan Comment: Instrument settings: auto light left image +20 perc. x10; threshold 2;resolution 4 , sub-sampled using software Instrument Serial Number: 350262016 Instrument Version: N/A Instrument Calibration Date: 2017-01-17T09:21:52 Probing System: NonContacting Scanned by: CSAFE, Marco Yepez Creation Date: 2017-06-06T09:21:52 binary_md5checksum: d588b5abd5e672c5ea9310e5dbaa69f0
Bullet 1 | Hofmann, Heike | FALSE | Barrel_10-Bullet_1-Land_4.x3p | Other | Sensofar | Sneox1 | 3D Topography | Land Engraved Area | 4 | 1.5625 | 1.5625 | 20 |  | Scan Comment: Instrument settings: auto light left image +20 perc. x10; threshold 2;resolution 4 , sub-sampled using software Instrument Serial Number: 350262016 Instrument Version: N/A Instrument Calibration Date: 2017-01-17T09:21:52 Probing System: NonContacting Scanned by: CSAFE, Marco Yepez Creation Date: 2017-06-06T09:21:52 binary_md5checksum: f4b311d20f4bbd01e310c801ca4d1f1d
Bullet 1 | Hofmann, Heike | FALSE | Barrel_10-Bullet_1-Land_2.x3p | Other | Sensofar | Sneox1 | 3D Topography | Land Engraved Area | 2 | 1.5625 | 1.5625 | 20 |  | Scan Comment: Instrument settings: auto light left image +20 perc. x10; threshold 2;resolution 4 , sub-sampled using software Instrument Serial Number: 350262016 Instrument Version: N/A Instrument Calibration Date: 2017-01-17T09:21:52 Probing System: NonContacting Scanned by: CSAFE, Marco Yepez Creation Date: 2017-06-06T09:21:52 binary_md5checksum: 29588617ade43071f8132b88bb4b0aa9
Bullet 2 | Hofmann, Heike | FALSE | Barrel_10-Bullet_2-Land_2.x3p | Other | Sensofar | Sneox1 | 3D Topography | Land Engraved Area | 2 | 1.5625 | 1.5625 | 20 |  | Scan Comment: Instrument settings: auto light left image +20 perc. x10; threshold 2;resolution 4 , sub-sampled using software Instrument Serial Number: 350262016 Instrument Version: N/A Instrument Calibration Date: 2017-01-17T09:21:52 Probing System: NonContacting Scanned by: CSAFE, Marco Yepez Creation Date: 2017-06-06T09:21:52 binary_md5checksum: af1cb3022c1f0a3d1a178950d649fb11
Bullet 2 | Hofmann, Heike | FALSE | Barrel_10-Bullet_2-Land_1.x3p | Other | Sensofar | Sneox1 | 3D Topography | Land Engraved Area | 1 | 1.5625 | 1.5625 | 20 |  | Scan Comment: Instrument settings: auto light left image +20 perc. x10; threshold 2;resolution 4 , sub-sampled using software Instrument Serial Number: 350262016 Instrument Version: N/A Instrument Calibration Date: 2017-01-17T09:21:52 Probing System: NonContacting Scanned by: CSAFE, Marco Yepez Creation Date: 2017-06-06T09:21:52 binary_md5checksum: d3cdea8701462fd0756a6169e87c5bda
Bullet 2 | Hofmann, Heike | FALSE | Barrel_10-Bullet_2-Land_6.x3p | Other | Sensofar | Sneox1 | 3D Topography | Land Engraved Area | 6 | 1.5625 | 1.5625 | 20 |  | Scan Comment: Instrument settings: auto light left image +20 perc. x10; threshold 2;resolution 4 , sub-sampled using software Instrument Serial Number: 350262016 Instrument Version: N/A Instrument Calibration Date: 2017-01-17T09:21:52 Probing System: NonContacting Scanned by: CSAFE, Marco Yepez Creation Date: 2017-06-06T09:21:52 binary_md5checksum: e5e810a686acd957857d3a5503bf7832
Bullet 2 | Hofmann, Heike | FALSE | Barrel_10-Bullet_2-Land_3.x3p | Other | Sensofar | Sneox1 | 3D Topography | Land Engraved Area | 3 | 1.5625 | 1.5625 | 20 |  | Scan Comment: Instrument settings: auto light left image +20 perc. x10; threshold 2;resolution 4 , sub-sampled using software Instrument Serial Number: 350262016 Instrument Version: N/A Instrument Calibration Date: 2017-01-17T09:21:52 Probing System: NonContacting Scanned by: CSAFE, Marco Yepez Creation Date: 2017-06-06T09:21:52 binary_md5checksum: d79218e6309ecf8ea339647162c1e7c5
Bullet 2 | Hofmann, Heike | FALSE | Barrel_10-Bullet_2-Land_5.x3p | Other | Sensofar | Sneox1 | 3D Topography | Land Engraved Area | 5 | 1.5625 | 1.5625 | 20 |  | Scan Comment: Instrument settings: auto light left image +20 perc. x10; threshold 2;resolution 4 , sub-sampled using software Instrument Serial Number: 350262016 Instrument Version: N/A Instrument Calibration Date: 2017-01-17T09:21:52 Probing System: NonContacting Scanned by: CSAFE, Marco Yepez Creation Date: 2017-06-06T09:21:52 binary_md5checksum: b8340d64e9984f178de32afa30f896d0
Bullet 2 | Hofmann, Heike | FALSE | Barrel_10-Bullet_2-Land_4.x3p | Other | Sensofar | Sneox1 | 3D Topography | Land Engraved Area | 4 | 1.5625 | 1.5625 | 20 |  | Scan Comment: Instrument settings: auto light left image +20 perc. x10; threshold 2;resolution 4 , sub-sampled using software Instrument Serial Number: 350262016 Instrument Version: N/A Instrument Calibration Date: 2017-01-17T09:21:52 Probing System: NonContacting Scanned by: CSAFE, Marco Yepez Creation Date: 2017-06-06T09:21:52 binary_md5checksum: f8a1147f5f5d659b4c3249fb9d5e8013
End of worksheet

## Cartridge Case
Cartridge Case Specimen Properties
Specimen ID | Firearm Name | Brand | Nominal Caliber | Cartridge Designation | Case Material | Primer Material | Firing Sequence | Lot Number | Comments
End of worksheet

## Cartridge Case Measurement
Cartridge Case Specimen Measurements
Specimen Name | Creator | NIST Measurement | File Name | Measurement Type | Instrument Brand | Instrument Model | Measurand | Breech Face | Firing Pin | Ejector Mark | Aperture Shear | Lateral Resolution (µm) | Vertical Resolution (µm) | Lighting Direction | Objective (Magnification) | Numerical Aperture | Comments
End of worksheet