## Study
Study Data
Study Name | Creator | Description | Literature Reference | Persistence | Consecutive | Different Ammo | Created Date
Hamby-44-CSAFE | Hofmann, Heike | 35 Bullets fire from ten consecutively manufactured Ruger P-85 barrels. | Hamby J, Brundage D, Thorpe J, "The Identification of Bullets Fired from 10 Consecutively Rifled 9mm Ruger Pistol Barrels: A Research Project Involving 507 Participants from 20 Countries," AFTE Journal, Vol 41, No 2, Spring 2009 | FALSE | TRUE | FALSE | 2018-06-28 13:18
End of worksheet

## Firearm
Firearm Data
Firearm Name | Brand | Model | Caliber | Firing Pin Class | Breech Face Class | # of Lands | Twist Direction | Consecutively Manufactured | Comments
Barrel 2 | Ruger | P-85 | 9 mm Luger |  |  | 6 | Right | FALSE | Land impressions are not indexed from bullet to bullet.
End of worksheet

## Bullet
Bullet Specimen Properties
Specimen ID | Firearm Name | Brand | Nominal Caliber | Cartridge Designation | Weight (Grain) | Surface Material | Firing Sequence | Lot Number | Comments
Bullet 1 | Barrel 2 | Winchester | 9 mm | NATO | 101-150 | Copper
Bullet 2 | Barrel 2 | Winchester | 9 mm | NATO | 101-150 | Copper
End of worksheet

## Bullet Measurement
Bullet Specimen Measurements
Specimen Name | Creator | NIST Measurement | File Name | Measurement Type | Instrument Brand | Instrument Model | Measurand | Region Of Interest | LEA or GEA # | Lateral Resolution (µm) | Vertical Resolution (µm) | Objective (Magnification) | Numerical Aperture | Comments
Bullet 1 | Hofmann, Heike | FALSE | Barrel_2-Bullet_1-Land_5.x3p | Other | Sensofar | Sneox2 | 3D Topography | Land Engraved Area | 5 | 1.5625 | 1.5625 | 20 |  | Scan Comment: Instrument settings: auto light left image +20 perc.;threshold 2;resolution 4 , sub-sampled using software Instrument Serial Number: 350402015 Instrument Version: N/A Instrument Calibration Date: 2017-08-07T09:21:52 Probing System: NonContacting Scanned by: CSAFE, Connor Hergenreter Creation Date: 2017-06-06T09:21:52 binary_md5checksum: 543281f70e95c6b099f5c2e7fe9d7ae0
Bullet 1 | Hofmann, Heike | FALSE | Barrel_2-Bullet_1-Land_1.x3p | Other | Sensofar | Sneox2 | 3D Topography | Land Engraved Area | 1 | 1.5625 | 1.5625 | 20 |  | Scan Comment: Instrument settings: auto light left image +20 perc.;threshold 2;resolution 4 , sub-sampled using software Instrument Serial Number: 350402015 Instrument Version: N/A Instrument Calibration Date: 2017-08-07T09:21:52 Probing System: NonContacting Scanned by: CSAFE, Connor Hergenreter Creation Date: 2017-06-06T09:21:52 binary_md5checksum: ab7840b36bcfcbfe5446588852e3cb5b
Bullet 1 | Hofmann, Heike | FALSE | Barrel_2-Bullet_1-Land_6.x3p | Other | Sensofar | Sneox2 | 3D Topography | Land Engraved Area | 6 | 1.5625 | 1.5625 | 20 |  | Scan Comment: Instrument settings: auto light left image +20 perc.;threshold 2;resolution 4 , sub-sampled using software Instrument Serial Number: 350402015 Instrument Version: N/A Instrument Calibration Date: 2017-08-07T09:21:52 Probing System: NonContacting Scanned by: CSAFE, Connor Hergenreter Creation Date: 2017-06-06T09:21:52 binary_md5checksum: 44db522e25931aacce325f10cc2412b0
Bullet 1 | Hofmann, Heike | FALSE | Barrel_2-Bullet_1-Land_4.x3p | Other | Sensofar | Sneox2 | 3D Topography | Land Engraved Area | 4 | 1.5625 | 1.5625 | 20 |  | Scan Comment: Instrument settings: auto light left image +20 perc.;threshold 2;resolution 4 , sub-sampled using software Instrument Serial Number: 350402015 Instrument Version: N/A Instrument Calibration Date: 2017-08-07T09:21:52 Probing System: NonContacting Scanned by: CSAFE, Connor Hergenreter Creation Date: 2017-06-06T09:21:52 binary_md5checksum: 2015b0dc51337c758c679797eb360b70
Bullet 1 | Hofmann, Heike | FALSE | Barrel_2-Bullet_1-Land_2.x3p | Other | Sensofar | Sneox2 | 3D Topography | Land Engraved Area | 2 | 1.5625 | 1.5625 | 20 |  | Scan Comment: Instrument settings: auto light left image +20 perc.;threshold 2;resolution 4 , sub-sampled using software Instrument Serial Number: 350402015 Instrument Version: N/A Instrument Calibration Date: 2017-08-07T09:21:52 Probing System: NonContacting Scanned by: CSAFE, Connor Hergenreter Creation Date: 2017-06-06T09:21:52 binary_md5checksum: 56c54d9006726d46ce3b0de6b4be8505
Bullet 1 | Hofmann, Heike | FALSE | Barrel_2-Bullet_1-Land_3.x3p | Other | Sensofar | Sneox2 | 3D Topography | Land Engraved Area | 3 | 1.5625 | 1.5625 | 20 |  | Scan Comment: Instrument settings: auto light left image +20 perc.;threshold 2;resolution 4 , sub-sampled using software Instrument Serial Number: 350402015 Instrument Version: N/A Instrument Calibration Date: 2017-08-07T09:21:52 Probing System: NonContacting Scanned by: CSAFE, Connor Hergenreter Creation Date: 2017-06-06T09:21:52 binary_md5checksum: 7a9f128298d3efa62fe60ca0b05d69b6
Bullet 2 | Hofmann, Heike | FALSE | Barrel_2-Bullet_2-Land_2.x3p | Other | Sensofar | Sneox2 | 3D Topography | Land Engraved Area | 2 | 1.5625 | 1.5625 | 20 |  | Scan Comment: Instrument settings: auto light left image +20 perc.;threshold 2;resolution 4 , sub-sampled using software Instrument Serial Number: 350402015 Instrument Version: N/A Instrument Calibration Date: 2017-08-07T09:21:52 Probing System: NonContacting Scanned by: CSAFE, Connor Hergenreter Creation Date: 2017-06-06T09:21:52 binary_md5checksum: f1752503a66e73bbfe8f0b38919be8fc
Bullet 2 | Hofmann, Heike | FALSE | Barrel_2-Bullet_2-Land_5.x3p | Other | Sensofar | Sneox2 | 3D Topography | Land Engraved Area | 5 | 1.5625 | 1.5625 | 20 |  | Scan Comment: Instrument settings: auto light left image +20 perc.;threshold 2;resolution 4 , sub-sampled using software Instrument Serial Number: 350402015 Instrument Version: N/A Instrument Calibration Date: 2017-08-07T09:21:52 Probing System: NonContacting Scanned by: CSAFE, Connor Hergenreter Creation Date: 2017-06-06T09:21:52 binary_md5checksum: f352d4e735348b4bbcb70bbf6d732c4a
Bullet 2 | Hofmann, Heike | FALSE | Barrel_2-Bullet_2-Land_6.x3p | Other | Sensofar | Sneox2 | 3D Topography | Land Engraved Area | 6 | 1.5625 | 1.5625 | 20 |  | Scan Comment: Instrument settings: auto light left image +20 perc.;threshold 2;resolution 4 , sub-sampled using software Instrument Serial Number: 350402015 Instrument Version: N/A Instrument Calibration Date: 2017-08-07T09:21:52 Probing System: NonContacting Scanned by: CSAFE, Connor Hergenreter Creation Date: 2017-06-06T09:21:52 binary_md5checksum: 3cc1be4b52f0c7974676bcc4852e04f1
Bullet 2 | Hofmann, Heike | FALSE | Barrel_2-Bullet_2-Land_4.x3p | Other | Sensofar | Sneox2 | 3D Topography | Land Engraved Area | 4 | 1.5625 | 1.5625 | 20 |  | Scan Comment: Instrument settings: auto light left image +20 perc.;threshold 2;resolution 4 , sub-sampled using software Instrument Serial Number: 350402015 Instrument Version: N/A Instrument Calibration Date: 2017-08-07T09:21:52 Probing System: NonContacting Scanned by: CSAFE, Connor Hergenreter Creation Date: 2017-06-06T09:21:52 binary_md5checksum: 23f20259c772362cac814f5bbe3034d1
Bullet 2 | Hofmann, Heike | FALSE | Barrel_2-Bullet_2-Land_1.x3p | Other | Sensofar | Sneox2 | 3D Topography | Land Engraved Area | 1 | 1.5625 | 1.5625 | 20 |  | Scan Comment: Instrument settings: auto light left image +20 perc.;threshold 2;resolution 4 , sub-sampled using software Instrument Serial Number: 350402015 Instrument Version: N/A Instrument Calibration Date: 2017-08-07T09:21:52 Probing System: NonContacting Scanned by: CSAFE, Connor Hergenreter Creation Date: 2017-06-06T09:21:52 binary_md5checksum: 95f7047827db1aed9aa6746402280a77
Bullet 2 | Hofmann, Heike | FALSE | Barrel_2-Bullet_2-Land_3.x3p | Other | Sensofar | Sneox2 | 3D Topography | Land Engraved Area | 3 | 1.5625 | 1.5625 | 20 |  | Scan Comment: Instrument settings: auto light left image +20 perc.;threshold 2;resolution 4 , sub-sampled using software Instrument Serial Number: 350402015 Instrument Version: N/A Instrument Calibration Date: 2017-08-07T09:21:52 Probing System: NonContacting Scanned by: CSAFE, Connor Hergenreter Creation Date: 2017-06-06T09:21:52 binary_md5checksum: d4c7eac1c531e66b59a42a6fb96e0712
End of worksheet

## Cartridge Case
Cartridge Case Specimen Properties
Specimen ID | Firearm Name | Brand | Nominal Caliber | Cartridge Designation | Case Material | Primer Material | Firing Sequence | Lot Number | Comments
End of worksheet

## Cartridge Case Measurement
Cartridge Case Specimen Measurements
Specimen Name | Creator | NIST Measurement | File Name | Measurement Type | Instrument Brand | Instrument Model | Measurand | Breech Face | Firing Pin | Ejector Mark | Aperture Shear | Lateral Resolution (µm) | Vertical Resolution (µm) | Lighting Direction | Objective (Magnification) | Numerical Aperture | Comments
End of worksheet