## Study
Study Data
Study Name | Creator | Description | Literature Reference | Persistence | Consecutive | Different Ammo | Created Date
Hamby-44-CSAFE | Hofmann, Heike | 35 Bullets fire from ten consecutively manufactured Ruger P-85 barrels. | Hamby J, Brundage D, Thorpe J, "The Identification of Bullets Fired from 10 Consecutively Rifled 9mm Ruger Pistol Barrels: A Research Project Involving 507 Participants from 20 Countries," AFTE Journal, Vol 41, No 2, Spring 2009 | FALSE | TRUE | FALSE | 2018-06-28 13:18
End of worksheet

## Firearm
Firearm Data
Firearm Name | Brand | Model | Caliber | Firing Pin Class | Breech Face Class | # of Lands | Twist Direction | Consecutively Manufactured | Comments
Barrel 4 | Ruger | P-85 | 9 mm Luger |  |  | 6 | Right | FALSE | Land impressions are not indexed from bullet to bullet.
End of worksheet

## Bullet
Bullet Specimen Properties
Specimen ID | Firearm Name | Brand | Nominal Caliber | Cartridge Designation | Weight (Grain) | Surface Material | Firing Sequence | Lot Number | Comments
Bullet 1 | Barrel 4 | Winchester | 9 mm | NATO | 101-150 | Copper
Bullet 2 | Barrel 4 | Winchester | 9 mm | NATO | 101-150 | Copper
End of worksheet

## Bullet Measurement
Bullet Specimen Measurements
Specimen Name | Creator | NIST Measurement | File Name | Measurement Type | Instrument Brand | Instrument Model | Measurand | Region Of Interest | LEA or GEA # | Lateral Resolution (µm) | Vertical Resolution (µm) | Objective (Magnification) | Numerical Aperture | Comments
Bullet 1 | Hofmann, Heike | FALSE | Barrel_4-Bullet_1-Land_3.x3p | Other | Sensofar | Sneox1 | 3D Topography | Land Engraved Area | 3 | 1.5625 | 1.5625 | 20 |  | Scan Comment: Instrument settings: auto light left image +20 perc.;threshold 2;resolution 4 , sub-sampled using software Instrument Serial Number: 350262016 Instrument Version: N/A Instrument Calibration Date: 2017-01-17T09:21:52 Probing System: NonContacting Scanned by: CSAFE, Allison Mark Creation Date: 2017-06-06T09:21:52 binary_md5checksum: 0a76a9ffd3d485b7cff29cd2561e6386
Bullet 1 | Hofmann, Heike | FALSE | Barrel_4-Bullet_1-Land_1.x3p | Other | Sensofar | Sneox1 | 3D Topography | Land Engraved Area | 1 | 1.5625 | 1.5625 | 20 |  | Scan Comment: Instrument settings: auto light left image +20 perc.;threshold 2;resolution 4 , sub-sampled using software Instrument Serial Number: 350262016 Instrument Version: N/A Instrument Calibration Date: 2017-01-17T09:21:52 Probing System: NonContacting Scanned by: CSAFE, Allison Mark Creation Date: 2017-06-06T09:21:52 binary_md5checksum: ea3b6692f18ef63c183e20555f4b475e
Bullet 1 | Hofmann, Heike | FALSE | Barrel_4-Bullet_1-Land_2.x3p | Other | Sensofar | Sneox1 | 3D Topography | Land Engraved Area | 2 | 1.5625 | 1.5625 | 20 |  | Scan Comment: Instrument settings: auto light left image +20 perc.;threshold 2;resolution 4 , sub-sampled using software Instrument Serial Number: 350262016 Instrument Version: N/A Instrument Calibration Date: 2017-01-17T09:21:52 Probing System: NonContacting Scanned by: CSAFE, Allison Mark Creation Date: 2017-06-06T09:21:52 binary_md5checksum: 7136eebd9d9dc86ae5d27464580bfbc7
Bullet 1 | Hofmann, Heike | FALSE | Barrel_4-Bullet_1-Land_5.x3p | Other | Sensofar | Sneox1 | 3D Topography | Land Engraved Area | 5 | 1.5625 | 1.5625 | 20 |  | Scan Comment: Instrument settings: auto light left image +20 perc.;threshold 2;resolution 4 , sub-sampled using software Instrument Serial Number: 350262016 Instrument Version: N/A Instrument Calibration Date: 2017-01-17T09:21:52 Probing System: NonContacting Scanned by: CSAFE, Allison Mark Creation Date: 2017-06-06T09:21:52 binary_md5checksum: a3dfea442a07c5d6eb5b921cfdd3b74f
Bullet 1 | Hofmann, Heike | FALSE | Barrel_4-Bullet_1-Land_6.x3p | Other | Sensofar | Sneox1 | 3D Topography | Land Engraved Area | 6 | 1.5625 | 1.5625 | 20 |  | Scan Comment: Instrument settings: auto light left image +20 perc.;threshold 2;resolution 4 , sub-sampled using software Instrument Serial Number: 350262016 Instrument Version: N/A Instrument Calibration Date: 2017-01-17T09:21:52 Probing System: NonContacting Scanned by: CSAFE, Allison Mark Creation Date: 2017-06-06T09:21:52 binary_md5checksum: 3f41ab7e2b5abd64425232d3f0fe00dd
Bullet 1 | Hofmann, Heike | FALSE | Barrel_4-Bullet_1-Land_4.x3p | Other | Sensofar | Sneox1 | 3D Topography | Land Engraved Area | 4 | 1.5625 | 1.5625 | 20 |  | Scan Comment: Instrument settings: auto light left image +20 perc.;threshold 2;resolution 4 , sub-sampled using software Instrument Serial Number: 350262016 Instrument Version: N/A Instrument Calibration Date: 2017-01-17T09:21:52 Probing System: NonContacting Scanned by: CSAFE, Allison Mark Creation Date: 2017-06-06T09:21:52 binary_md5checksum: dff9b4f19feca412534be635eaccdf18
Bullet 2 | Hofmann, Heike | FALSE | Barrel_4-Bullet_2-Land_2.x3p | Other | Sensofar | Sneox1 | 3D Topography | Land Engraved Area | 2 | 1.5625 | 1.5625 | 20 |  | Scan Comment: Instrument settings: auto light left image +20 perc.;threshold 2;resolution 4 , sub-sampled using software Instrument Serial Number: 350262016 Instrument Version: N/A Instrument Calibration Date: 2017-01-17T09:21:52 Probing System: NonContacting Scanned by: CSAFE, Allison Mark Creation Date: 2017-06-06T09:21:52 binary_md5checksum: 097ca7cec80620688aa8510fea133063
Bullet 2 | Hofmann, Heike | FALSE | Barrel_4-Bullet_2-Land_3.x3p | Other | Sensofar | Sneox1 | 3D Topography | Land Engraved Area | 3 | 1.5625 | 1.5625 | 20 |  | Scan Comment: Instrument settings: auto light left image +20 perc.;threshold 2;resolution 4 , sub-sampled using software Instrument Serial Number: 350262016 Instrument Version: N/A Instrument Calibration Date: 2017-01-17T09:21:52 Probing System: NonContacting Scanned by: CSAFE, Allison Mark Creation Date: 2017-06-06T09:21:52 binary_md5checksum: aa444b66be93dc3d74b8037a2040ae99
Bullet 2 | Hofmann, Heike | FALSE | Barrel_4-Bullet_2-Land_6.x3p | Other | Sensofar | Sneox1 | 3D Topography | Land Engraved Area | 6 | 1.5625 | 1.5625 | 20 |  | Scan Comment: Instrument settings: auto light left image +20 perc.;threshold 2;resolution 4 , sub-sampled using software Instrument Serial Number: 350262016 Instrument Version: N/A Instrument Calibration Date: 2017-01-17T09:21:52 Probing System: NonContacting Scanned by: CSAFE, Allison Mark Creation Date: 2017-06-06T09:21:52 binary_md5checksum: adaeb7e4ba7c4308484d0ec61aa6a888
Bullet 2 | Hofmann, Heike | FALSE | Barrel_4-Bullet_2-Land_5.x3p | Other | Sensofar | Sneox1 | 3D Topography | Land Engraved Area | 5 | 1.5625 | 1.5625 | 20 |  | Scan Comment: Instrument settings: auto light left image +20 perc.;threshold 2;resolution 4 , sub-sampled using software Instrument Serial Number: 350262016 Instrument Version: N/A Instrument Calibration Date: 2017-01-17T09:21:52 Probing System: NonContacting Scanned by: CSAFE, Allison Mark Creation Date: 2017-06-06T09:21:52 binary_md5checksum: 94a40e4a4eaa2ef6db28cae7f40d3bf2
Bullet 2 | Hofmann, Heike | FALSE | Barrel_4-Bullet_2-Land_1.x3p | Other | Sensofar | Sneox1 | 3D Topography | Land Engraved Area | 1 | 1.5625 | 1.5625 | 20 |  | Scan Comment: Instrument settings: auto light left image +20 perc.;threshold 2;resolution 4 , sub-sampled using software Instrument Serial Number: 350262016 Instrument Version: N/A Instrument Calibration Date: 2017-01-17T09:21:52 Probing System: NonContacting Scanned by: CSAFE, Allison Mark Creation Date: 2017-06-06T09:21:52 binary_md5checksum: 3c70d98c847cb84732a5bcc89c1535b9
Bullet 2 | Hofmann, Heike | FALSE | Barrel_4-Bullet_2-Land_4.x3p | Other | Sensofar | Sneox1 | 3D Topography | Land Engraved Area | 4 | 1.5625 | 1.5625 | 20 |  | Scan Comment: Instrument settings: auto light left image +20 perc.;threshold 2;resolution 4 , sub-sampled using software Instrument Serial Number: 350262016 Instrument Version: N/A Instrument Calibration Date: 2017-01-17T09:21:52 Probing System: NonContacting Scanned by: CSAFE, Allison Mark Creation Date: 2017-06-06T09:21:52 binary_md5checksum: 72ab10cb1f7cd4fab0caca6a14280667
End of worksheet

## Cartridge Case
Cartridge Case Specimen Properties
Specimen ID | Firearm Name | Brand | Nominal Caliber | Cartridge Designation | Case Material | Primer Material | Firing Sequence | Lot Number | Comments
End of worksheet

## Cartridge Case Measurement
Cartridge Case Specimen Measurements
Specimen Name | Creator | NIST Measurement | File Name | Measurement Type | Instrument Brand | Instrument Model | Measurand | Breech Face | Firing Pin | Ejector Mark | Aperture Shear | Lateral Resolution (µm) | Vertical Resolution (µm) | Lighting Direction | Objective (Magnification) | Numerical Aperture | Comments
End of worksheet