# Perspectives for Consideration in the Development of Microbial Cell Reference Materials

# Emma Allen-Vercoe1*, J. Russell Carmical2, Samuel P. Forry3, Rashmi Sinha4

1 Department of Molecular and Cellular Biology, University of Guelph, 50 Stone Road East, Guelph, Ontario, N1G 2W1, CANADA; eav@uoguelph.ca

2 Molecular Virology and Microbiology Core, Alkek Center for Metagenomics & Microbiome Research, Baylor College of Medicine, Houston, TX, United States of America; Joseph.Carmical@bcm.edu>

3 Biosystems and Biomaterials Division, National Institute of Standards and Technology, 100 Bureau Drive, Gaithersburg, MD 20899 United States of America; samuel.forry@nist.gov

4 Metabolic Epidemiology Branch, National Cancer Institute, National Institutes of Health, 9609 Medical Center Drive, Bethesda, MD, United States of America: sinhar@nih.gov

*Corresponding author

Abstract

Microbiome measurement and analyses benefit greatly from incorporation of reference materials as controls, however, there are many points to consider in order to define an ideal whole cell reference material standard.   Such a standard would embody all of the diversity and measurement challenges present in real samples, would be completely characterized to provide ‘ground truth’ data, and would be inexpensive and widely available. This ideal is, unfortunately, not readily attainable because of the diverse nature of different sequencing projects. Some applications may benefit most from highly complex reference materials, while others will value characterization or low expense more highly. The selection of appropriate microbial whole cell reference materials to benchmark and validate microbial measurements should be considered carefully and may vary between specific applications. In this commentary, we describe a perspective on the development of whole cell microbial reference materials for use in metagenomics analyses.

### Keywords

### Microbiome, Reference Materials, Measurement Confidence, Whole Cell

### Background

As evidenced by recent publication trends in microbiome research, researchers are moving the field of metagenomics toward large epidemiologic studies and commercial development at a rapid pace.  If these analyses are to ever evolve into reliable assays (e.g. for etiologic studies or clinical diagnostics), the measurement process must be regularly assessed to ensure measurement quality.  A key aspect of this validation is the routine analysis of reference materials as both positive and negative controls. A reference material is any stable, broadly available, and well characterized specimen that is used to assess the quantitative and/or qualitative validity of a measurement process. Many sorts of reference materials are available, and we focus here on the use of microbial Whole Cell Reference Materials (WCRMs) for characterizing metagenomic analyses from start to finish.

### Main text

# Microbial whole cell reference materials (WCRM) utilization

Microbial WCRMs can be propagated through the entire microbiome measurement process (i.e., all of the manipulations involved in moving from actual samples to extraction, polymerase chain reaction (PCR) amplification of taxonomic marker genes, sequencing, and bioinformatics from those samples), thereby enabling systematic characterization of the quality of metagenomic analyses (Table 1). Prior to launching a full research investigation or sustained initiative, inexpensive WCRMs can be used in place of actual samples to evaluate and assess the protocols to be employed. During a project, WCRMs evaluated regularly alongside unknown samples increase confidence that the measurement process is consistently performing as intended. Beyond any single research effort, WCRMs evaluated under different protocols (e.g., a new instrument, or a different sequencing center) provide a starting point for comparing results and increase the value and portability of resulting datasets. An important caveat here is that WCRMs always differ – sometimes substantially – from the actual samples of interest. It remains possible that a measurement process that appears well characterized and predictable based on WCRM analysis will be impacted by particular attributes of actual samples in unanticipated ways. Thus, while they are very useful in identifying measurement failures, WCRMs cannot guarantee reliable measurement results. Some common questions about the measurement process that WCRMs can help address are provided in Table 1. When it is time to deploy a validated measurement process, it is recommended that WCRMs be included as positive controls alongside real samples of interest. Further, when microbial measurement results are published, the data from routine analysis of well characterized WCRMs should be made available too (i.e., as data critical in supporting research conclusions).

# Table 1. Utilization of microbial WCRMs

| Questions WCRMs can help address | Details |
| --- | --- |
| Does the measurement process exhibit bias (e.g., systematic underestimation of gram-positive abundances)? | Measurement results should reflect the known WCRM composition. Deviations can be accounted for in the data analysis. |
| Is the measurement process performing within specifications (e.g., CLIA certification)? | Measurement results from analysis of WCRMs must consistently fall within a predetermined range. |
| How should datasets be compared (e.g., a key consideration in data pooling for cohort studies, future data collections as protocols evolve, or from a collaborator’s laboratory)? | A WCRM is widely available, and routine analysis of WCRMs under multiple protocols informs the interpretation of results. Future cohorts should ideally use the same WCRM to be able to compare their results. |
| Can a protocol be improved; what parameters are most important (e.g., duration and intensity of bead beating)? | A WCRM provides an inexpensive sample for systematically varying protocol parameters for optimization and sensitivity analyses. |
| How sensitive is the measurement process? What are the limits of quantitation (e.g., discriminate genetically similar strains, detect low-abundance genotypes)? | Well-designed WCRMs can test the performance of measurement processes. Ideally, WCRMs should include characteristics that challenge the measurement process to failure to help identify reasonable ranges for quantitative assessments. |

# Kinds of microbial reference materials

The ideal WCRM would possess all the physical, chemical, and biological characteristics of the unknown samples to be evaluated.

In order to make the most accurate comparisons, a reference standard should closely resemble the physical, chemical, and biological characteristics of the sample of interest. However, it’s rarely if ever possible to identify WCRMs which are identical to the sample source and that have been characterized to the extent necessary. Therefore, compromises must be made, and a universal WCRM is not feasible.  Further, the specific questions being address in an investigation will dictate the most appropriate WCRM (balancing, for example, taxonomic similarity to test samples, depth of characterization, availability and reproducibility. Many diverse WCRMs have been utilize by different research efforts and commercial interests (Table 2).

Microbe-based reference materials can be roughly divided into 3 key categories (Figure 1). Each of these is associated with benefits and drawbacks which need to be assessed in the context of experimental design for a given project.

# Category 1: Naturally-occurring microbial ecosystems

Samples from existing microbial environments may be suitable as WCRMs if they can be (i) obtained in high enough abundance, (ii) homogenized to remove variability between aliquots, and (iii) stored for long periods of time with either negligible or measurable deterioration.  The most obvious benefit to this kind of WCRM is that its composition will closely match the  sample of interest that will be collected from that environment. This is particularly important for the microbial representation and abundances, and the environmental matrix (e.g., mouth wash samples for oral microbiome, and food particles or PCR inhibitors in stool).

There are, however, several drawbacks to using environmental samples as WCRMs.  One of the major limitations of using such a sample is that it typically challenging to define (i.e., measure) the exact species composition and abundance. This is particularly difficult for many source ecosystems are complex and contain many low-abundance taxa. Also, the ecosystem source for the WCRM may change over time, thus the WCRM cannot easily be reproduced if more material is needed later. For example, an individual’s fecal microbial ecosystem remains generally stable over long periods, however variations (e.g., abundance profiles) may be observed over time, reflecting changes in diet, immune status, physical fitness and environment, etc. [1-3].

# Category 2: in vitro expansion of microbial ecosystems

The abundance of a given WCRM sourced direct from the environment is a major limitation to its usefulness. To overcome this limitation, several groups have developed laboratory systems that mimic many parameters that shape ecosystems, whilst at the same time allowing these parameters to be measureable and controlled (reviewed in [4]).  Bioreactors which support and maintain, for example, environmental pH and oxygen tension matched to the source environment, and as well provide a constant supply of nutrients and removal of waste material, can be seeded with environmental innocula and allowed to attain an equilibrium (steady state) under user-defined parameters.  The steady state ecosystem may be maintained for several weeks or more, depending on the environment being modeled, and the system can also be scalable; as such these factors partially overcome the limitations of reference material availability described for the first category, above.  Since these kinds of model systems attempt to recapitulate the natural environment, an added benefit is that any reference material obtained from them will be supported within a matrix that will at least partially reflect that of the natural source. The advantage is that a scalable quantity of material can be produced at one time.

When seeded with complex microbial ecosystems from a given natural source, however, in vitro models remain subject to batch-to-batch variations that need to be completely characterized each time. This problem may be mitigated by storing multiple identical innocula to re-start the bioreactor on multiple occasions. However, seed stocks are never unlimited, and they may suffer from deterioration over time - even under optimal storage conditions. As with the environmental sample WCRMs discussed above, complete characterization of these in vitro expansions remains a significant technical challenge.

# Category 3 – pure microbial isolates

Many representative organisms from diverse ecosystems have been isolated and cultured as pure isolates. Defined mixtures of these pure strains can be used to generate WCRMs in two ways: a) a subset of a natural community may be combined to inoculate a defined ecosystem in an in vitro model, as described above; and b) pure isolates may be grown individually and subsequently mixed in defined ratios.

Defined subset in vitro communities are cultured in systems that potentially restore some metabolic functionality and matrix components of the ecosystem. Although still inherently artificial, this modality offers a compromise that balances a defined set of input strains with an allowance for those strains to adopt a semi-natural state (e.g., compositional profile, metabolic activity) to mimic some aspects of the in vivo situation.

In contrast to this approach, pure microbial isolates have several key benefits as components of microbial standards.  Using adequately banked strains and well-characterized propagation procedures it is reasonable to assume an almost limitless supply.  In addition, pure isolates can be subjected to thorough phenotypic and genotypic characterization, which adds value to any resulting microbial standard.  As well, aspects of experimental design, such as the need to balance e.g. gram positive and gram negative bacterial species in a useful way, can be accommodated.  Microbial isolates may also be grouped into a standard at specified abundances to mimic natural ecosystem - a ‘mock community’ (MC); however, the resulting ecosystem will be inherently artificial, and will lack properties, such as metabolite profiles, that can only be gained through culture of an ecosystem as a unit.

# Table 2. Sources for Microbial Cell Reference Materials

| Microbial Cell Reference Materials | Details… |
| --- | --- |
| Previously analyzed samples | Many laboratories routinely re-analyze banked samples from previous investigations. These are useful for monitoring the run-to-run stability of the measurement process. |
| Microbiome Quality Control project: BEI-ATCC HMP control [5, 6] In vitro ‘Robogut’ model [5, 6] | Mixture of 20 pure cultures isolated from fecal and oral samples A bioreactor designed to propagate gut microbes was inoculated with feces-derived communities |
| Purchased mock communities: ZymoBiomics™ by Zymo Research [7] MSA-2003™ by ATCC [8] MSA-2002™ by ATCC [8] | 10-organism whole cell mixture, comprised of 3 gram positive bacteria, 5 gram negative bacteria, and 2 yeasts at even abundances 10-species whole cell mixture of 7 gram positive and 3 negative bacteria at even abundances 20-species whole cell mixture of 11 gram positive and 9 gram negative bacteria at even abundances (including the 10 organisms in MSA-2003) |
| New WCRM developed by National Cancer Institute for prospective cohort studies - Fecal samples - Mock community - Oral chemostat | From five individuals with different phenotypes Mixture of 45 pure culture isolates, similar to fecal-derived species but considered rare within the 5 donor samples, spiked into fecal samples in known concentrations A bioreactor designed to propagate oral microbes was inoculated with oral-derived communities |

Limited or no remaining availability

Currently available

# Mock Community Composition

Although a large number of banked microorganisms are in principal available for fit-for-purpose assembly of MCs, they often lack the level of characterization required for use as an appropriate reference materials.  Many consist of incomplete genomes and/or are poorly annotated. (For example, the copy number of the 16S rRNA gene in databased bacterial sequences can be unreliable.) Whole genome sequencing and complete genome assembly of candidate strains could resolve these issues but requires a large upfront expense. Furthermore, a repository for characterization data would aid the utility and uptake of appropriate WCRMs.

Synthetic mock community WCRMs provide an opportunity to design mixtures that are particularly well suited to test known microbial measurement challenges. For example, bacterial WCRMs should include both gram-positive and gram-negative organisms. A range of relative abundances should be present with at least a 100-fold difference between high- and low-abundance organisms. The genetic diversity of the WCRM should also be considered. Some naturally occurring microbiomes are comprised of >1000 phylogenetically diverse species, while other microbial communities are much simpler. Ideal WCRMs will encompass the expected diversity and phylogenetic breadth of actual samples. The additional inclusion of groups of closely related organisms, including strains within the same species, would be useful for assessing the sensitivity of measurement pipelines to genotypes exhibiting high genetic similarity. Finally, many microbial samples include matrices that complicate analysis (e.g., PCR inhibitors are common in fecal samples). WCRMs can be designed to include matrix elements that are known to be problematic. Alternatively, assembled WCRMs spiked into relevant matrices may be used.

# WCRM characterization challenges

Some common characteristics to be considered for metagenomic WCRMs are; taxonomic classification, known and accessible sample source, growth conditions (if cultivable), readily available reference sequence, genome size, GC content, percent repeats in the genome, known copy number of target sequences (e.g. 16S or, 18S rRNA genes), and functional information.

For example, one potential use for MCs is to measure the differential in nucleic acid extraction efficiencies among community constituents.  In order to make such assessments we must first quantify the constituents of the MC and be able to add each in a known quantity; by processing a known quantity one should be able to calculate an expected result.  There are various means to counting cells such as plating and CFU counting, flow cytometry and spectrophotometry but none of these offer the accuracy required to make downstream measurement on the molecular level.  Once the MC has been subjected to the extraction process the resulting DNA must be measured, and quite often this is found to be at a concentration of <1ng/ul.  Spectrophotometry (NanoDrop) and fluorescent dyes (picogreen) lack the accuracy to measure concentrations typical of metagenomic samples, which leaves qPCR as the choice of measurement.  In order for qPCR to be used to measure the individual constituents in a mixed population one must design primers to a sequence that is both unique to a given component strain and occurs at a known copy; this often proves to be problematic. Furthermore, a target that is common to a constituent and occurs in equal copies should be chosen to serve a calibrator for making copy number calculations - again this can be challenging.  Without an accurate means of measuring both input (cells) and output (DNA) it becomes very difficult to assess the efficiency of the extraction process.

Being that all samples of interest are compared to a common reference standard, a poorly suited standard may result in a systemic bias.  For example, assembling MCs from single isolates to assimilate metagenomic samples is a logical approach but has proven difficult to achieve.

# Development of WCRMs for epidemiologic studies

As no complex WCRMs for positive controls for microbiome analysis are currently readily available, epidemiologic researchers at the United States National Cancer Institute (NCI) have developed three types of standard reference material for future etiologic studies studying the relationship between fecal and oral microbiome and chronic disease (Table 2), that have been divided into multiple, identical one-use aliquots for distribution to the scientific community (ref). The first of these reference materials is fecal samples from generous donors. The researchers collected >200g fecal samples from five individual donors (healthy adult, adult on low carbohydrate diet, adult with high body mass index, adult with inflammatory bowel disease, and healthy young person) in order to optimize the ability to observe microbial differences. The second type of WCRM is a community of 45 purified bacterial strains, grown to known biomass quantities and mixed together in known ratios which will serve as the quantitative “gold standard” artificial community. The third is material from a chemostat grown to steady state equilibrium under conditions mimicking those found within the mouth, and seeded with samples of saliva, tongue scraping, and plaque and oral bacterial communities grown as biofilms. These WCRM samples will be extracted and the 16S ribosomal RNA amplicons as well as the metagenomes will be sequenced in multiple laboratories to provide reference data. NCI will make these WCRM samples available to cohort studies conducting microbiome analyses. Going forward, routine inclusion of comparable standard samples in sequencing experiments will allow each laboratory to assess its own performance over time, and will be useful for pooling or meta-analyses that are anticipated for some microbiome studies.

# Negative controls

Another aspect that critical is the need to incorporate negative controls into a study design. Studies should routinely include collection and extraction buffers alone for sequence analysis as they may contain low-level contamination that, despite being minimal, may lead to incorrect detection of non-biologically relevant bacteria.  This is especially important in the context of  microbiome studies that propose to identify rare taxa in their biological samples. Recently, the Microbiome Quality Control Study found that even simple buffer blank controls had significant contamination (add ref). In general, researchers should be aware that reagents found within most molecular biology kits can introduce contaminants that can swamp true biological signal from low-biomass samples.

# Conclusions

A variety of WCRMs have been developed to provide ‘ground truth’ benchmark data for characterizing metagenomic measurements. The reader is left with the following thoughts:

- Measurement quality is a critical part of any experiment and is particularly important for analysis of complex samples as is commonly carried out in microbiome studies

- The use of WCRMs represents a logical approach for characterizing and validating experimental procedures and measurement processes

- WCRMs can increase confidence in experimental design and resulting measurements but cannot guarantee accurate or reliable results

- To be useful a given WCRM needs to be consistent (i.e., unchanging in time or between labs), well characterized, widely available (ideally in unlimited supply) and inexpensive

  - A one-size-fits-all WCRM is thus an unattainable goal

- WCRMs need to be chosen which best fit a given experiment or question, taking into account, for example, diversity (both phylogenetic and in terms of microbial characteristics such as GC ratios or cell wall thickness), abundance, and source environment.

  - A research question may require the use of multiple microbial reference materials throughout the entirety of a research investigation

  - A modular design (addition of sub-groups of samples) may address some challenges in the application of WCRMs to different projects.

- Large prospective cohort studies being planned now should include standard WCRMs to facilitate future data pooling and meta-analyses

List of abbreviations

WCRM: Whole cell reference material

MC: Mock community

CFU: Colony forming units

qPCR: Quantitative polymerase chain reaction

PCR: Polymerase chain Reaction

### Declarations

Ethics approval and consent to participate

Not applicable

Consent for publication

Not applicable

Availability of data and material

Data sharing is not applicable to this article as no datasets were generated or analyzed during the current study

Competing interests

EAV is co-founder of NuBiyota, a company that aims to commercialize ‘microbial ecosystem therapeutics’, and that would therefore benefit from the development of an ideal standard for metagenomic analysis.  JMC, SF, RS declare that they have no competing interests. Commercial material suppliers are identified in this paper to foster understanding; such identification does not imply recommendation or endorsement by the National Institute of Standards and Technology, nor does it imply that the materials identified are necessarily the best available for the purpose.

Authors' contributions

All authors contributed equally to the conception, writing, and editing of this manuscript. All authors read and approved the final manuscript.

Acknowledgements

The authors would like to acknowledge and thank participants at the 2016 Standards for Microbiome Measurements Workshop at NIST where the ideas contained herein were nucleated.

[should we also acknowledge Phil and Dierdre here for their work on the oral microbiome standard stuff?]

Funding

Funding for the 2016 Standards for Microbiome Measurements Workshop was provided by NIST, NIAID, and multiple corporate sponsors (including Zymo Research and ATCC). The workshop proceedings are publicly available online[9].

References

- Costello EK, Lauber CL, Hamady M, Fierer N, Gordon JI, Knight R. Bacterial community variation in human body habitats across space and time. Science. 2009;326(5960):1694–1697.

- Schloissnig S, Arumugam M, Sunagawa S, Mitreva M, Tap J, Zhu A, et al. Genomic variation landscape of the human gut microbiome. Nature. 2013;493(7430):45–50.

- Flores GE, Caporaso JG, Henley JB, Rideout JR, Domogala D, Chase J, et al. Temporal variability is a personalized feature of the human microbiome. Genome Biol. 2014;15(12):531-544.

- Venema K, van den Abbeele P. Experimental models of the gut microbiome. Best Pract Res Clin Gastroenterol. 2013; 27(1):115-26.

- Sinha R, Abnet CC., White O, Knight R. & Huttenhower C. The microbiome quality control project: baseline study design and future directions. Genome Biol.  2015;16:276-282.

- Sinha R, Abu-Ali G, Vogtmann E, Fodor AA, Ren B, Amir A, Schwager E, Crabtree J, Ma S, Microbiome Quality Control Project Consortium, Abnet CC, Knight R, White O, Huttenhower C. Assessment of variation in microbial community amplicon sequencing by the Microbiome Quality Control (MBQC) project consortium.  Nat Biotechnol. 2017; 35(11):1077-1086.

- Zymo Research http://www.zymoresearch.com/microbiomics/microbial-standards/zymobiomics-microbial-community-standards (2018) Accessed Feb 28th 2018.

- American Type Culture Collection (2018) https://www.atcc.org/~/media/A36E4E940E3F40B1A5E14D6851E9348F.ashx Accessed Feb 28th 2018.

- Standards for Microbiome Measurements Workshop https://www.nist.gov/video/standards-microbiome-measurements-day-1-part-1, Accessed Feb 28th 2018.